## Sheet1
Project Name | Branford Ecology Park | Bloomfield Prosser Library | Bridgeport Central High School | Bridgeport Marin School | Bridgeport Curiale School
Address | 100 Tabor Dr Branford, CT 06405 | 1 Tunxis Ave, Bloomfield, CT 06002 | 1 Lincoln Blvd, Bridgeport, CT 06606 | 479 Helen St, Bridgeport, CT 06608 | 300 Laurel Ave, Bridgeport, CT 06605
System Size KW DC | 1144 | 135 | 1203 | 328 | 196
System Size KW AC | 825 | 100 | 940 | 250 | 150
Year 1 Production Estimate Based on Prelim design (kWh) | 1494134 | 160065 | 1511360 | 398748 | 242332
Proposed System Type | Ground Mount | Rooftop | Rooftop and Carport | Rooftop | Rooftop
Utility | Eversource | Eversource | UI | UI | UI
PID | 507 | 7718/7619/7676 | 12892 | 15110 | 8259
Landfill? | Yes | No | No | No | No
Eligible for NRES Green School Carveout? | No | No | Yes | Yes | Yes
Tariff Agreement Secured? | Yes | Yes | No - Green School Carveout Submission | No - Green School Carveout Submission | No - Green School Carveout Submission
Tariff Structure | Buy All Sell All | Buy All Sell All | Buy All Sell All | Buy All Sell All | Buy All Sell All
New Construction | N/A | Yes | No | No | No
Snow Guards Required | N/A | No | Required for Carport portion of the project | No | No
Carport Height | N/A | N/A | 14' | N/A | N/A
Acceptable working hours/ day | 7AM -10 PM Monday - Saturday. Sundays 9 AM to 10 PM | 7-3 Monday-Friday | 6:30 AM to 6:30 PM Monday through Friday. Additional hours may be available on a case by case basis. | 6:30 AM to 6:30 PM Monday through Friday. Additional hours may be available on a case by case basis. | 6:30 AM to 6:30 PM Monday through Friday. Additional hours may be available on a case by case basis.
Calendar Restrictions | Federal Holidays | Town Holidays: Labor Day- September 1, Veteran’s Day- November 11, Thanksgiving Day- November 27, Day After Thanksgiving- November 28, Christmas Day- December 25 | Holidays when the buildings would be closed. See calendar included in Exhibit A. There may also be restrictions on days where student testing is required. This will be worked out on a case by case basis. | Holidays when the buildings would be closed. See calendar included in Exhibit A. There may also be restrictions on days where student testing is required. This will be worked out on a case by case basis. | Holidays when the buildings would be closed. See calendar included in Exhibit A. There may also be restrictions on days where student testing is required. This will be worked out on a case by case basis.
Security Protocols | None | Contractors must check in with Glen Garrity Assistant Director of Public Works via cell at 860.626.3478 or Facility Manager, Matt Childress, at 860.471.9666 each day they are onsite. | Contractors must check in with Security for entry into building. | Contractors must check in with Security for entry into building. | Contractors must check in with Security for entry into building.
Electrical/Structural Drawings available? | Exhibit A includes the DEEP closure acceptance letter, closure certification reports, a ground water map and the landfill boundary Map of the site. | Full Plan Set Uploaded in Exhibit A | Floor plan and roof framing plans provided in Exhibit A. Site was unable to locate electrical drawings. | Single Line Drawings Included in Exhibit A, as well as floor plans and roof framing plans. | Single Line Drawings Included in Exhibit A, as well as floor plans and roof framing plans.
Roof Warranty Info | N/A | New Construction. Site has note yet received the roof warranty documentation. EPDM Roofing Product Data Submittal from the contractor, Silktown Roofing Included in Exhibit A. | Site was unable to locate the roof warranty documentation. Roof was replaced ~ 2020. EPC to follow up on documentation prior to install. | Uploaded in Exhibit B | Roof is currently being replaced. EPC to collect roof warranty information post RFP.
General Notes | - Bidders should note that visibility to the sound is important to the Town of Branford. o Height was a concern during the original review process for this project. o The Town has expressed interest in extending the height of the onsite Gazebo to preserve visibility to the sound. This scope of work will be completed by the Town, at their own expense. - While the Green Bank aims to be tech agnostic, project economics and height of the array are particularly important for this project. Green Bank defers to bidders on equipment selection and design; however, proposals should aim to meet the AC kW size of the conceptual design in the site report and maximize yield. Proposers should note the conceptual design assumes use of Philadelphia Solar 580W modules, review the spec sheet provided in Exhibit A, and note the orientation, inter-row spacing, and expanded footprint in the site report. - Project will require planning and zoning review | Facility construction is complete. Conduits have been installed to the roof. The library site utilizes a one-way traffic pattern, and vehicles or equipment must not impede visitor traffic. Equipment staging can be reserved in the adjacent library parking lot for the contractor.